| Name: ___________________________________ | Date: ______________ |
| --- | --- |

AHERA Bldg Inspector Matching Quiz

| 1. Asbestos is a naturally occurring ______________ mineral. | A. hollow |
| --- | --- |
| 2. Chrysotile fibers are curved and ____________. | B. containers |
| 3. This South African mineral is considered the most difficult fiber to control. | C. Response |
| 4. Asbestos Hazard Emergency Response Act | D. hazard |
| 5. An AHERA Building Inspector's job is to Inspect, _________ and Report. | E. microscopy |
| 6. Cancer of the chest lining or stomach lining. | F. Pink |
| 7. Deterioration <10% overall or <25% localized | G. miscellaneous |
| 8. A building inspector should carry a ________ vacuum to pick up dust and debris generated from bulk sampling. | H. Inhalation |
| 9. An approved methodology from EPA for collection of statistically random bulk samples on surfacing materials is known as the ______________ Book. | I. Cilia |
| 10. A _____________survey requires the inspector to do a comprehensive evaluation of asbestos content in building materials, including concealed ones. | J. HEPA |
| 11. A building owner or contractor can be cited $250/day per violation for failing to produce the written __________. | K. Amosite |
| 12. ASHARA did not carry over the requirement for _____________ in public and commercial buildings. | L. surfacing |
| 13. Asbestos in air or bulk samples is evaluated using these methods. | M. TSI |
| 14. Options for Removal, Encapsulation, Enclosure, Repair and Operations/Maintenance are referred to as AHERA ____________ Actions. | N. demolition |
| 15. 3 year AHERA reinspections must be conducted by this accredited individual. | O. AHERA |
| 16. EPA and ASTM recommend using hard shell ______________ when collectiing bulk samples of friable suspect ACM. | P. Charlemagne |
| 17. There are a total of this many assessment categories when physically assessing friable ACM. | Q. Mesothelioma |
| 18. Typically, ACM or suspect ACM in significantly damaged condition would constitute a top priority to address because of the ______________ it presents. | R. DOSH |
| 19. A half face APR with filters or cartridges carries an assigned __________ factor of 10. | S. Management Planner |
| 20. Who had the amazing fireproof table cloth? | T. fibrous |
| 21. Flooring, roofing, cement-asbestos products and construction adhesives are examples of ___________ materials. | U. report. |
| 22. Pipe insulation, boiler jacketing and HVAC wrap are examples of ____________. | V. Inspector |
| 23. Fireproofing, popcorn ceiling texture and troweled on-plaster are examples of ____________ material | W. Seven |
| 24. The primary route of exposure to airborne asbestos fibers. | X. Damaged |
| 25. What hair-like tissue in the upper respiratory tract is most responsible for increased risk of exposure for asbestos workers that are cigarette smokers? | Y. Assess |
| 26. The agency responsible for worker safety and health in our state. | Z. protection |