| Name: ___________________________________ | Date: ______________ |
| --- | --- |

ARTIFACTS

| 1. CAN ARISE FROM INSUFFICIENT PROJECTION OR VIEW SAMPLING | A. STREAKING |
| --- | --- |
| 2. IMPROPER SAMPLING OF DATA, METAL OR BEAM HARDENING | B. SCATTER |
| 3. THIS RADIATION IS A FUNDAMENTAL PHENOMENON ASSOCIATED WITH THE INTERACTION BETWEEN X-RAY PHOTONS AND MATTER. | C. PHANTOMS |
| 4. CAUSED BY INCOMPLETE/INSUFFICIENT PROJECTION SAMPLES (2 WDS) | D. SHADING |
| 5. INCOMPLETE PROJECTIONS, OFF-FOCUS RADIATION | E. RING |
| 6. MULTIPLE TISSUES WITH THE SAME VOXEL RESULTS IN INACCURATE CALCULATIONS OF THE VOXELS'S CT NUMBERS (3 WDS) | F. BEAM HARDENING |
| 7. INCREASE IN THE MEAN ENERGY OF THE X-RAY BEAM AS IT PASSES THROUGH THE PATIENT. (2 WDS) | G. ALIASING |
| 8. THESE OBJECTS ARE HIGHLY ATTENUATED TO THE RADIATION , WHICH RESULTS IN ERROR IN PROJECTION PROFILES | H. QUANTUM |
| 9. PATIENT'S CAN DO THIS VOLUNTARY OR NON VOLUNTARY, WHICH APPEARS AS STREAKS | I. PARTIAL VOLUME AVERAGING |
| 10. BAD DETECTOR CHANNELS IN 3RD GENERATION CT SCANNERS. | J. METAL |
| 11. A DISTORTION OR ERROR IN AN IMAGE THAT IS UNRELATED TO THE SUBJECT BEING STUDIED. | K. ARTIFACT |
| 12. AN X-RAY FLUX OR THE NUMBER OF DETECTED X-RAY PHOTONS | L. MOTION |
| 13. IMAGE NOISE IS MEASURED TYPICALLY ON UNIFORM_____. | M. CONE BEAM |