| Name: ___________________________________ | Date: ______________ |
| --- | --- |

Chapter 1 (Quality Surveillance)

|  |  |  |  |  |  |  |  | 1 |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  |  |
|  |  |  |  | 4 | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 7 |  |  |  |  |  |  |  |  |  |  |  | 8 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 12 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Across 4. The purpose of swirling the sample bottle to form a vortex is to remove any ______ that might cling to the bottle. 7. The CCFD is a portable , self contained unit unit designed for both gasoline and jet fuels that is used to determine solid and free water ___________ in fuels. 10. Dark or black water and/or slime in drawoffs from storage tank bottoms and triggering of fuel monitors in delivery systems are are exampoles of microbiological growth and ________. 11. Operating what system is important in when preventing the buildup of fuel vapors? 13. clean hands, samples _________ promptly; sample is a representative of the product being sampled, sample was drawn while system was under normal operating and steady flow conditions. 14. _________ sample serial number, type fuel amd date sample taken are items required to identify samples taken for testing by regional laboraries. 15. Petroleum fuel is a liquid that contains _______ energy that is converted into mechanical energy through combustion in an engine. | Down 1. In order for aircraft to be acceptable for delivery, aircraft must be clean clear and bright. They must not contain more than ________ free water or 2mg/L particulate contamination. 2. contaminated fuel can cause aircraft accidents with loss of life, loss of aircraft, and/or the ________ of entire squadron. 3. Improper containers of poorly drawn samples or _______ samples are two common errors that can cause laboratory results to be meaningless or, worse, misleading. 5. Both the NAVIFLASH and the Automatic Pensky-Marten Closed Cup Tester use _______ to ignite combustible vapors. 6. An all-level sample is one obtained by submerging a closed sampler into a container as near as possible to what point in the container/tank? 8. How often should you adjust the rheostat on the CCFD when sampling for free water? 9. Volatility of petroleum fuel is measured by distillation and _________. 12. MOGAS and JP fuels are petroleum products manufactured from crude oil by oil refineries. Through _________, the crude oil is separated into fractions, which are groups of compounds having boiling points within a given range. |
| --- | --- |