| Name: ___________________________________ | Date: ______________ |
| --- | --- |

Chest Tube Assessment

|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 2 |  |  |  |  | 3 |  |  | 4 |  |  |  |  |  |  |  |  | 5 |
| 6 |  |  |  |  |  |  |  |  |  | 7 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 9 |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 10 |  |  |  |  |  |  |  |
|  |  |  |  |  | 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 12 |  |  |  |  |  |  |  |  |  |  |  |

| Across 6. The orange suction bellow should be expanded to the _______ mark 7. the patient pressure float ball will fall with _____ 8. When assessing for an air leak, you assess for _______ to be present in the air leak chamber 9. The drainage system should always be _____ the level of the patient's chest 11. Chest tube tubing should or should not have dependent loops 12. Tidaling is observed in the _____ seal chamber | Down 1. Tidaling will ______ as the pneumo decreases in size 2. The wall suction should be set at _______ mmHg 3. Changing suction pressure is accomplished by adjusting the rotary of the Dry Suction ___________ on the upper left hand side of the Oasis 4. The orange accordian is called the Suction Monitor _______ 5. The patient pressure float ball will rise with ________ 10. Our policy is to assess the chest tube managment system every ____ hours |
| --- | --- |