| Name: ___________________________________ | Date: ______________ |
| --- | --- |

Electrical Diagrams and Symbols

|  |  |  |  |  |  |  |  |  |  |  |  |  | 1 |  |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  |  |  |  | 4 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 6 |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 7 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 8 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Across 7. Electromechanical device operated by a coil; uses contacts to make or break circuits 9. Two different metals bonded to provide fast heat transfer to trip contacts by mechanical deflection 10. Schematic consisting of single-phase and three-phase power lines; indicates power distribution and fuse and interrupter coordination 11. Contact provided in addition to the main circuit contacts but operated with the main contacts. 12. Device without overload protection; repeatedly establishes and interrupts an electric power circuit 13. Switch, manually operable plunger, button, or actuating device 14. Pertaining to self-acting starter completely controlled by pilot switches or some other sensing device. | Down 1. Function of magnetic control that connects equipment directly to supply line on starting 2. Contactor operated electromechanically. 3. Schematic consisting of symbols and lines that indicate power source and how current flows through various parts of a control circuit. 4. Starter designed to start motor at a reduced speed and build to full speed in preset steps. 5. Method of starting an electric motor by connecting it directly to supply lines 6. Device for protecting motor from overload current or voltage 8. Momentarily operating; moving driven machine a small distance |
| --- | --- |