| Name: ___________________________________ | Date: ______________ |
| --- | --- |

Laser

| 1. what is the removal of surface material from the body? | A. chromophore |
| --- | --- |
| 2. What is the ability to cut, vaporize, or remove using a laser? | B. ablation |
| 3. What is a liqufied that is cooled to -238F (-150C)? | C. MPE |
| 4. What are units of energy or work? | D. LGAC |
| 5. What is microwave amplification by stimulated emissions of radiation? | E. lipolysis |
| 6. to stimulate or change cellular function | F. attenuation |
| 7. What is the diameter of the optical or laser light beam? | G. cryogen |
| 8. the act of removing light energy from a beam before it exits a second medium | H. scatter |
| 9. the uptake of one substance into another | I. microthermal zone |
| 10. a current that flows on a path of least resistance between positive and negative electrodes | J. optical density |
| 11. the colored cells | K. coherent light |
| 12. parallel rays of light that travel spatially and temporally in phase with eachother | L. ablative |
| 13. a grounding pad | M. Joules |
| 14. see power density | N. irradiance |
| 15. electromagnetic radiation found in the invisible spectrum of light | O. modulate |
| 16. smoke that is generated from an ablative laser device | P. photons |
| 17. the splitting up or destruction of fat cells | Q. bipolar radio frequency |
| 18. the level of laser radiation to which a person may be exposed without hazardous ocular | R. monochromatic |
| 19. a column of tissue that is heated by a fractional laser device | S. dispersing electrode |
| 20. describes light consisting of one wavelength | T. maser |
| 21. a deep dermal pigmented lesion usually found on the face in populations | U. infrared |
| 22. the amount of attenuation or reduction of radiant laser energy as it passes through | V. spot size |
| 23. in quantum theory, the element unit of light | W. nevus of ota |
| 24. a general physical process involving moving particles that are dispersed through a medium | X. thermal relaxation time |
| 25. the time it takes for the target tissue to dissipate | Y. absorption |