| Name: ___________________________________ | Date: ______________ |
| --- | --- |

Lightning Protection 2

|  |  |  |  |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 2 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 4 |  |  |  |  |  | 5 |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 6 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |

| Across 2. _________ and ungrounded metal bodies exceeding 60' must be bonded to structural stee. 6. The tip of an air ______ must be 10" above protected object. 7. Air terminals that extend over 24" must have a _______ support. 8. Spacing between ground rods must be twice the distance of ground rod. 10' rods would require ______'between the ground rods? 9. _______ conductors are used to interconnect down conductors and grounding electrodes. 10. _________ protective devices must be installed at all power services. | Down 1. A surge ______ is a limiting protection device in electrical services. 3. The maximum distance between supports is _____ feet. 4. Lightning protection conductors must be electrically ________ and bonded where not. 5. Structural steel used as lightning down conductors must be bonded every ______ feet. |
| --- | --- |