Name: ___________________________________________

QUALITY CONTROL AND QUALITY ASSURANCE IN GENERAL RADIOGRAPHY

| 1. What does QA mostly deal with? | A. MAY NOT EXCEED 2% OF THE SID |
| --- | --- |
| 2. What does QC mostly deal with? | B. QUALITY ASSURANCE |
| 3. Done By Someone Other than the MANUFACTURER'S representative, because It Is Designed To Show That The Equipment Is Performing within the Manufactures's Specifications and Is producing an ACCEPTABLE Patient Radiation Dose? | C. Outcome Analysis |
| 4. What prevents maintenance? | D. Acceptance Testing |
| 5. What is image interpretation that involves reconciling the patient's ultimate disease condition with the Radiologist's diagnosis. | E. FILTRATION |
| 6. ACRONYM for Center of Medicare & Medicaid Services | F. TJC |
| 7. What does QC stand for? | G. Advanced Diagnostic Images​ |
| 8. What does QA stand for? | H. CRCPD |
| 9. ACRONYM for The Joint Commission? | I. CMS |
| 10. What does ADI stand for? | J. QUALITY CONTROL |
| 11. ACRONYM for Council of Radiation Control Program Directors​ | K. INSTRUMENTATION AND EQUIPMENT |
| 12. what is acceptance testing, maintenance, and routine performance monitoring a part of? | L. periodic monitoring |
| 13. Important for Collimation Control: | M. 3 steps of Quality Control |
| 14. IMPORTANT FOR PATIENT SAFETY and must be a MINIMUM OF 2.5 MM OF AL.​ ​ | N. PEOPLE |
| 15. ACRONYM For Continuous Quality Improvement | O. CQI |